## Maintenance
MONTHLY REPORT MAINTENANCE ENG FEBRUARI 2020
NO | NO EQUIPMENT | UNIT NAME | LOCATION | FEBRUARY |  |  |  | KETERANGAN
|  |  |  | 1 | 2 | 3 | 4
1 | L2/SOH/AC/001 | AC Split wall | R.OFFICE Lt 2 |  |  |  |  | Done
1 | L1/SOH/AC/002 | AC casset | Lantai 1 R.exito resto |  |  |  |  | Done
2 | L1/SOH/AC/003 | AC Split wall | Lantai 1 R.office |  |  |  |  | Done
3 | L2/SOH/AC/004 | AC Split wall | Lantai 2 R.server |  |  |  |  | Done
4 | L2/SOH/AC/005 | AC Split wall | Lantai 2 R.meeting 1 |  |  |  |  | Done
5 | L2/SOH/AC/006 | AC Split wall | Lantai 2 R.meeting 2 |  |  |  |  | Done
6 | L2/SOH/AC/007 | AC Split wall | Lantai 2 room 218 |  |  |  |  | Done
7 | L2/SOH/AC/008 | AC Split wall | Room 206 |  |  |  |  | Done
8 | L2/SOH/AC/009 | AC Split wall | Room 207 |  |  |  |  | Done
9 | L2/SOH/AC/010 | AC Split wall | Room 208 |  |  |  |  | Done
10 | L2/SOH/AC/011 | AC Split wall | Room 209 |  |  |  |  | Done
11 | L2/SOH/AC/012 | AC Split wall | Room 210 |  |  |  |  | Done
12 | L2/SOH/AC/013 | AC Split wall | Room 211 |  |  |  |  | Done
13 | L2/SOH/AC/014 | AC Split wall | Room 212 |  |  |  |  | Done
14 | L2/SOH/AC/015 | AC Split wall | Room 215 |  |  |  |  | Done
15 | L2/SOH/AC/016 | AC Split wall | Room 216 |  |  |  |  | Done
16 | L2/SOH/AC/017 | AC Split wall | Room 217 |  |  |  |  | Done
17 | L3/SOH/AC/018 | AC Split wall | Room 301 |  |  |  |  | Done
18 | L3/SOH/AC/019 | AC Split wall | Room 302 |  |  |  |  | Done
19 | L3/SOH/AC/020 | AC Split wall | Room 303 |  |  |  |  | Done
20 | L3/SOH/AC/021 | AC Split wall | Room 305 |  |  |  |  | Done
21 | L3/SOH/AC/022 | AC Split wall | Room 306 |  |  |  |  | Done
22 | L3/SOH/AC/023 | AC Split wall | Room 307 |  |  |  |  | Done
23 | L3/SOH/AC/024 | AC Split wall | Room 308 |  |  |  |  | Done
24 | L3/SOH/AC/025 | AC Split wall | Room 309 |  |  |  |  | Done
25 | L3/SOH/AC/026 | AC Split wall | Room 310 |  |  |  |  | Done
26 | L3/SOH/AC/027 | AC Split wall | Room 311 |  |  |  |  | Done
27 | L3/SOH/AC/028 | AC Split wall | Room 312 |  |  |  |  | Done
28 | L3/SOH/AC/029 | AC Split wall | Room 315 |  |  |  |  | Done
29 | L3/SOH/AC/030 | AC Split wall | Room 316 |  |  |  |  | Done
30 | L3/SOH/AC/031 | AC Split wall | Room 317 |  |  |  |  | Done
31 | L5/SOH/AC/032 | AC Split wall | Room 501 |  |  |  |  | Done
32 | L5/SOH/AC/033 | AC Split wall | Room 502 |  |  |  |  | Done
33 | L5/SOH/AC/034 | AC Split wall | Room 503 |  |  |  |  | Done
34 | L5/SOH/AC/035 | AC Split wall | Room 505 |  |  |  |  | Done
35 | L5/SOH/AC/036 | AC Split wall | Room 506 |  |  |  |  | Done
36 | L5/SOH/AC/037 | AC Split wall | Room 507 |  |  |  |  | Done
37 | L5/SOH/AC/038 | AC Split wall | Room 508
38 | L5/SOH/AC/039 | AC Split wall | Room 509 |  |  |  |  | Done
39 | L5/SOH/AC/040 | AC Split wall | Room 510 |  |  |  |  | Done
40 | L5/SOH/AC/041 | AC Split wall | Room 511 |  |  |  |  | Done
41 | L5/SOH/AC/042 | AC Split wall | Room 512 |  |  |  |  | Done
42 | L5/SOH/AC/043 | AC Split wall | Room 515 |  |  |  |  | Done
43 | L5/SOH/AC/044 | AC Split wall | Room 516 |  |  |  |  | Done
44 | L5/SOH/AC/045 | AC Split wall | Room 517 |  |  |  |  | Done
45 | L6/SOH/AC/046 | AC Split wall | Room 601 |  |  |  |  | Done
46 | L6/SOH/AC/047 | AC Split wall | Room 602 |  |  |  |  | Done
47 | L6/SOH/AC/048 | AC Split wall | Room 603 |  |  |  |  | Done
48 | L6/SOH/AC/049 | AC Split wall | Room 605 |  |  |  |  | Done
49 | L6/SOH/AC/050 | AC Split wall | Room 606 |  |  |  |  | Done
50 | L6/SOH/AC/051 | AC Split wall | Room 607 |  |  |  |  | Done
51 | L6/SOH/AC/052 | AC Split wall | Room 608 |  |  |  |  | Done
52 | L6/SOH/AC/053 | AC Split wall | Room 609 |  |  |  |  | Done
53 | L6/SOH/AC//054 | AC Split wall | Room 610 |  |  |  |  | Done
54 | L6/SOH/AC/055 | AC Split wall | Room 611 |  |  |  |  | Done
55 | L6/SOH/AC/056 | AC Split wall | Room 612 |  |  |  |  | Done
56 | L6/SOH/AC/057 | AC Split wall | Room 615 |  |  |  |  | Done
57 | L6/SOH/AC/058 | AC Split wall | Room 616 |  |  |  |  | Done
58 | L6/SOH/AC//059 | AC Split wall | Room 617 |  |  |  |  | Done
59 | L1/SOH/ACM/001 | ICE Maker | Terace koffee |  |  |  |  | Done
60 | L1/SOH/FZR/002 | Frezeer sayuran | R.kicthen |  |  |  |  | Done
61 | L1/SOH/FZR/003 | Frezeer Daging | R.kicthen |  |  |  |  | Done
62 | L1/SOH/MCR/004 | Microwave | R.kicthen |  |  |  |  | Done
63 | L1/SOH/KLS | Kulkas | Terace koffee |  |  |  |  | Done
158 | L1/SOH/BKB/001 | Bak kontrol biotech | Lantai 1 area parkir |  |  |  |  | Done
NO | NO EQUIPMENT | UNIT NAME | LOCATION | FEBRUARY
|  |  |  | 1 | 2 | 3 | 4
1 | L1/SOH/GENSET/009 | Genset | Lantai 1 | 1 | 8 | 15 | 22 | (tgl 29) Done

## Project
2020-02-01
Sparks Odeon Sukabumi
No | Tanggal | Project | Keterangan
1 | 2020-01-02 | pembongkaran dekorasi engagement diana & aris | Done
2 | 2020-02-02 | penutupan lubang speaker teras kopi (dicurigai sebagai sarang tikus) | Done
3 | 2020-03-02 | Perbaikan floordrain lepas room 506 | Done
4 | 2020-03-02 | Perbaikan sofware mikrotik data eror sama orang telkom | Done
5 | 2020-05-02 | Perbaikan doorcloser copot pintu room 502 | Done
6 | 2020-06-02 | pembersihan bawah tangga emergency lt. 1 (banyak tikus) | Done
7 | 2020-08-02 | pemasangan gas kitchen 1 unit | Done
8 | 2020-08-02 | perbaikan sakelar dekat tabble side bed (dudukan sakelar lepas) | Done
9 | 2020-08-02 | Penambalan bocor atap pos scurity | Done
10 | 2020-09-02 | perbaikan air swing ac room 315 (dudukan patah) | Done
11 | 2020-11-02 | Perbaikan lampu depan toilet lobby kedip kedip | Done
12 | 2020-11-02 | Perbaikan handle jendela room 608 patah | Done
13 | 2020-11-02 | Perbaikan tutup floordrain room 610 & 215 ( BAUT COPOT ) | Done
14 | 2020-12-02 | Pengecekan lampu sorot ACP sisi barat timur 5 pcs mati di perbaiki 1 pcs | Done
15 | 2020-12-02 | Perbaikan instalasi kabel TV room 607 chanell buram | Done
16 | 2020-12-02 | penggantian battre remote AC room 210 | Done
17 | 13/02/2020 | perbaikan plafon bekas rembesan (depan room 616) | Done
18 | 14/02/2020 | Pengecekan toaster roti RBF | Done
19 | 15/02/2020 | Pengecekan DVR dan power supply cctv | Done
20 | 15/02/2020 | Pengecekan MIXER amply teras kopi | Done
21 | 17/02/2020 | Perbaikan difek tembok kelupas coridor dekat hydran | Done
22 | 17/02/2020 | Perbaikan AC bocor room 605 | Done
23 | 17/02/2020 | Perbaikan curtain sower copot room 206 | Done
24 | 18/02/2020 | perbaikan sealent ACP depan jendela room 316 | Done
25 | 20/02/2020 | penggantian kabel hairdryer room 317 & 517 (isolator rusak) | Done
26 | 21/02/2020 | perbaikan ac room 317 (bocor) | Done
27 | 21/02/2020 | penggantian lampu tangga lt. 1 - 2 (lampu redup) | Done
28 | 23/02/2020 | Setup sound system ivent meeting exito | Done
29 | 23/02/2020 | Perbaikan rak towel dan tissu rool copot room 501 | Done
30 | 23/02/2020 | Perbaikan curtain jendela kaca copot room 317 | Done
31 | 23/02/2020 | Kalibrasi mesin kopi simonelli oscar dan maintenance filter | Done
32 | 25/02/2020 | perbaikan pintu koboi room 501 (engsel rusak 1 unit) | Done
33 | 25/02/2020 | perbaikan shower curtain room 315 (dudukan baut longgar) | Done
34 | 25/02/2020 | penambalan bathub room 307 | Done
35 | 26/02/2020 | perbaikan shower curtain room 606 (dudukan patah) | Done
36 | 29/02/2020 | penggantian gas kitchen 1 unit | Done
37 | 29/02/2020 | Perbaikan overload pompa booster | Done

## foto
DATA FOTO